## Disclaimer
Disclaimer
THIS DOCUMENT IS PROVIDED "AS IS" WITH NO WARRANTIES WHATSOEVER, INCLUDING ANY WARRANTY OF MERCHANTABILITY, FITNESS FOR ANY PARTICULAR PURPOSE, OR ANY WARRANTY OTHERWISE ARISING OUT OF ANY PROPOSAL, SPECIFICATION OR SAMPLE.
Information in this document is provided in connection with Intel products. No license, express or implied, by estoppel or otherwise, to any intellectual property rights is granted by this document. Except as provided in Intel's Terms and Conditions of Sale for such products, Intel assumes no liability whatsoever, and Intel disclaims any express or implied warranty, relating to sale and/or use of Intel products including liability or warranties relating to fitness for a particular purpose, merchantability, or infringement of any patent, copyright or other intellectual property right. Intel products are not intended for use in medical, life saving, or life sustaining applications.
Intel retains the right to make changes to this document at any time, without notice. This document should be used for reference only and the contained data is dependent on specific hardware.
The hardware vendor remains solely responsible for the design, sale and functionality of its product, including any liability arising from product infringement or product warranty.
Copyright © Intel Corporation 2005.
*Other brands and names are the property of their respective owners.
Click to Continue

## Instructions
Power Budget Instructions
Press the Start button to begin using the Power Budget Tool
START button
Summary / Results
Configure Serverboard
Configure System
* Print this page for reference while operating the Power Budget Tool.
Disclaimer

## Summary
Power Budget | Select a Chassis / Select a Serverboard
Chassis/ Power Supply / Cooling: |  | Select a Chassis
Serverboard: |  | Select a Serverboard
System Totals | +3.3V (amps) | +5V (amps) | +12V (amps) | -12V (amps) | 5VSB (amps) | Total System Watts
Processors - Qty 1: | 0 | 0 | 0 | 0 | 0 | 0
PCI Cards - Qty 0: | 0 | 0 | 0 | 0 | 0 | 0
Hard Drives - Qty 0: | 0 | 0 | 0 | 0 | 0 | 0
Serverboard & Memory: | 0 | 0 | 0 | 0 | 0 | 0
Chassis & Peripherals: | 0 | 0 | 0 | 0 | 0 | 0
System Totals: | 0 | 0 | 0 | 0 | 0 | 0
Power Supply Limits: | 0 | 0 | 0 | 0 | 0 | 0
Margins to Limit: | 0 | 0 | 0 | 0 | 0 | 0
Negative margins show configuration exceeds a specified limit.
AC inlet power estimate (below) |  |  | Lowline | Highline
|  | Choose Input Voltages: | 110 | 220 | (Volts) |  | 90 | 180
|  | Estimated Worst Case Inlet Power: | 0 | 0 | (Watts) | Note: Estimates are most accurate at max loading. | 95 | 200
|  | Estimated Worst Case Inlet Current: | 0 | 0 | (Amps) |  | 100 | 210
[7 empty] | 110 | 220
[7 empty] | 115 | 230
[7 empty] | 120 | 240
Version 2.4 - 08/25/05 | [6 empty] | 132 | 264
Configure Serverboard
Configure System
Summary / Results
Help

## Intel Chassis
Power Budget | Select a Chassis System Configuration
System Feature | Description | Qty | +3.3V (amps) | +5V (amps) | +12V (amps) | -12V (amps) | 5V stby (amps) | Power (watts)
Chassis: | 1 |  |  |  | 0 |  |  | 0 | Includes System & Processor Fans
Hard Drives: | 1 | 0 |  | 0 | 0 |  |  | 0
Hard Drives: | 1 | 0 |  | 0 | 0 |  |  | 0
Backplane: | Disk Drive Hotswap Backplanes | 0 |  | 0 | 0 |  |  | 0
PS2 & USB: | Number of Devices (100mA/device) | 0 |  | 0 |  |  |  | 0
External Bay1: | 1 | 0 |  | 0 | 0 |  | 0 | 0
External Bay2: | 1 | 0 |  | 0 | 0 |  | 0 | 0
External Bay3: | 1 | 0 |  | 0 | 0 |  | 0 | 0
Other Peripheral: | 1 | 0 |  | 0 | 0 |  | 0 | 0
| SubTotals: |  | 0 | 0 | 0 | 0 | 0 | 0
| SubTotal Chassis Power (Watts): |  | 0 | 0 | 0 | 0 | 0 | 0
| Total System usage: |  | 0 | 0 | 0 | 0 | 0 | 0
| Power Supply Limits: |  | 0 | 0 | 0 | 0 | 0 | 0
| Margins compared to Limits: |  | 0 | 0 | 0 | 0 | 0 | 0 | <--System Margins
System Margins so far: |  |  | 3.3V | 5V | 12V | -12V |  | W
Define Hard Drive Types
Summary / Results
Configure Serverboard
Configure System
Help
Define Peripherals
Define Other Chassis
Summary / Results

## Serverboard Config
Power Budget | Select a Serverboard Serverboard Configuration | [8 empty] | VRM Efficiency
Serverboard Feature | Description |  | +3.3V (amps) | +5V (amps) | +12V (amps) | -12V (amps) | 5V stby (amps) | Power (watts) |  | 100%
Processors: | 1 |  |  |  | 0 |  |  | 0 | *This line includes correction factors.
| Quantity: | 1
Serverboard: | 1 |  | 0 | 0 | 0 | 0 | 0 | 0
Memory: | 1 | 1 | 0 | 0 | 0 | 0 |  | 0
PCI Slot 1: | 1 |  | 0 | 0 | 0 | 0 |  | 0
PCI Slot 2: | 1 |  | 0 | 0 | 0 | 0 |  | 0
PCI Slot 3: | 1 |  | 0 | 0 | 0 | 0 |  | 0
PCI Slot 4: | 1 |  | 0 | 0 | 0 | 0 |  | 0
PCI Slot 5: | 1 |  | 0 | 0 | 0 | 0 |  | 0
PCI Slot 6: | 1 |  | 0 | 0 | 0 | 0 |  | 0
| SubTotals: |  | 0 | 0 | 0 | 0 | 0 | 0
| SubTotal Serverboard Power (Watts): |  | 0 | 0 | 0 | 0 | 0 | 0
| Total System usage: |  | 0 | 0 | 0 | 0 | 0 | 0
| Power Supply Limits: |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Margin compared to Limits: | 0 | 0 | 0 | 0 | 0 | 0 | <--System Margins
Define Processors
Summary / Results
Configure System
Help
Configure Serverboard
Define PCI Devices
Define Memory

## Serverboard
Serverboard | 3.3 | 5 | 12 | -12 | 5VSB | Watts | VRM%
Select a Serverboard | [6 empty] | 1
SE7520AF2 | 5.3 | 3.8 | 1.25 | 0 | 0.4 | 53.49 | 0.84
SE7520BD2 | 3.2 | 3.6 | 0.7 | 0 | 0.5 | 39.46 | 0.84
SE7320SP2 | 2.4 | 2.7 | 0 | 0 | 0.53 | 24.07 | 0.85
SE7525GP2 | 2.4 | 2.7 | 0 | 0 | 0.53 | 24.07 | 0.85
SE7320EP2 | 2.7 | 1.5 | 1.3 | 0 | 0.53 | 34.66 | 0.85
SE7525RP2 | 2.7 | 1.5 | 1.3 | 0 | 0.53 | 34.66 | 0.85
[7 empty] | 100% | <-- Define Custom Numbers Here
[7 empty] | 100% | <-- Define Custom Numbers Here
[7 empty] | 100% | <-- Define Custom Numbers Here
When finished entering Information - click here to return.

## Chassis
Chassis | Power supply limits | [5 empty] | Fans | HS Fan | Max | PS Eff% |  | Product Name
Selection | 3V | 5V | 12V | -12V | 5VSB | Watts | 12V | (Y/N) | HDD | 110v | 220v
Select a Chassis | [11 empty] | Select a Chassis
SC5275E - 600W | 20 | 24 | 43 | 0.5 | 2 | 600 | 1.1 | Y | 6 | 68% | 68% | SC5275-E
SC5300BASE - 600W | 20 | 24 | 43 | 0.5 | 2 | 600 | 2.7 | N | 6 | 68% | 68% | SC5300 Base
SC5300BRP - 730W 1+1 | 24 | 24 | 48 | 0.5 | 2 | 700 | 2.7 | N | 10 | 77% | 77% | SC5300 BRP
SC5300LX - 730W 1+1 | 24 | 24 | 48 | 0.5 | 2 | 700 | 8.1 | N | 10 | 77% | 77% | SC5300 LX
SC5295DP - 420W | 17 | 20 | 30 | 0.5 | 2 | 420 | 1.1 | Y | 6 | 68.5% | 68.5% | SC5295-E DP
SC5295BRP - 500W 1+1 | 24 | 24 | 39 | 0.3 | 2 | 470 | 1.1 | Y | 6 | 70% | 70% | SC5295-E BRP
SC5295WS - 600W | 20 | 24 | 43 | 0.5 | 2 | 600 | 1.1 | Y | 6 | 68% | 68% | SC5295-E WS
User Definable | [7 empty] | Y |  | 65% | 65% |  | <-- Define Custom Numbers Here
User Definable | [7 empty] | Y |  | 65% | 65% |  | <-- Define Custom Numbers Here
User Definable | [7 empty] | Y |  | 65% | 65% |  | <-- Define Custom Numbers Here
Note: HS Fan (Y/N) determines if an Active Heatsink (Heatsink with Fan) in Intel® Boxed Processors is used (adds fan power to budget)
When finished entering Information - click here to return.

## Processors
Processor Types | TDP (W) | HS Fan (A) | Source |  | VRM#1 | VRM#2
Select a Processor |  |  |  |  | 5V VRM | 12V VRM
Intel® Xeon™ Processor with 800 MHz System Bus | 103 | 0.5 | Datasheet - 6/04 |  | 12V VRM | None
64-Bit Intel® Xeon™Processor with 2MB L2 Cache | 110 | 0.5 | Datasheet - 2/05 |  | None
Dual Core Intel® Xeon™Processor (SC5300LX/SE7520AF2 Only) | 135 | 0.5
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
Processor Quantities (used for tool operation)
1 | 1
2 | 2
Note: HS Fan =Fan power for Active Heatsink which ships with Intel® Boxed Processors
When finished entering Information - click here to return.

## Memory
Memory | Amps of +3.3V | Amps of +5V | Amps of +12V | Amps of -12V | Watts
Select DIMM Type
Typical DDR266 512MB DIMM |  |  | 0.31 |  | 3.72 | Estimated power under total system stress
Typical DDR266 1GB DIMM |  |  | 0.5 |  | 6 | Estimated power under total system stress
Typical DDR266 2GB DIMM |  |  | 0.6 |  | 7.2 | Estimated power under total system stress
Typical DDR266 4GB DIMM |  |  | 0.77 |  | 9.24 | Estimated power under total system stress
Typical DDR333 512MB DIMM |  |  | 0.36 |  | 4.32 | Estimated power under total system stress
Typical DDR333 1GB DIMM |  |  | 0.7 |  | 8.4 | Estimated power under total system stress
Typical DDR333 2GB DIMM |  |  | 0.7 |  | 8.4 | Estimated power under total system stress
Typical DDR2 400 2GB DIMM |  |  | 0.66 |  | 7.92 | Estimated power under total system stress
Typical DDR2 400 4GB DIMM |  |  | 0.74 |  | 8.88 | Estimated power under total system stress
User Definable |  |  |  |  | 0 | <-- Define Custom Number Here
User Definable |  |  |  |  | 0 | <-- Define Custom Number Here
User Definable |  |  |  |  | 0 | <-- Define Custom Number Here
User Definable |  |  |  |  | 0 | <-- Define Custom Number Here
User Definable |  |  |  |  | 0 | <-- Define Custom Number Here
User Definable |  |  |  |  | 0 | <-- Define Custom Number Here
Note:
Total DIMM power can be higher then the numbers shown, but when combined with
total system stress, especially processor stress, the total power will be lower.
This is usually the concern for power budgeting needs - so the numbers shown here
are lower than maximum for the DIMMs and were measured during simultaneous processor stress.
When finished entering Information - click here to return.

## PCI
PCI & AGP Add in Cards | Amps of +3.3V | Amps of +5V | Amps of +12V | Amps of -12V | Watts
Slot Empty
PCI (5v) Typical |  | 2 |  |  | 10
PCI (3.3V) Typical | 3 |  |  |  | 9.9
PCIe (3.3V/12V) Typical | 2 |  | 0.65 |  | 14.4
PCIe (3.3V/12V) High | 3 |  | 1.25 |  | 24.9
PCIe x16 Graphics (75W) | 3 |  | 5.5 |  | 75.9
PCIe x16 Graphics (150W) | 3 |  | 11.75 |  | 150.9
PCI RAID - Intel SRCS14L | 2.5 | 0.25 |  |  | 9.5 | <-- Define Custom Card Here
PCI NIC - Intel Pro/1000XT |  | 1.25 |  |  | 6.25 | <-- Define Custom Card Here
PCI NIC - Intel Pro Pro/100 S+ |  | 1.06 |  |  | 5.3 | <-- Define Custom Card Here
PCI RAID - LSI 22320-R |  | 3.2 |  |  | 16 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
When finished entering Information - click here to return.

## HardDrive
Hard Drives | Amps of +3.3V | Amps of +5V | Amps of +12V | Amps of -12V | Watts
Empty |  |  |  |  | 0
SATA Typical Power (12W) |  | 0.5 | 0.8 |  | 12.1
SCSI/SAS Typical Power (15W) |  | 0.8 | 0.92 |  | 15.04
Maximum Power (18W) |  | 0.95 | 1.1 |  | 17.95
Maxtor DiamondMax Plus D740X-6L ATA133 |  | 0.45 | 0.85 |  | 12.45 | <-- Define Custom Device Here
Maxtor DiamondMax Plus 9 SATA |  | 0.662 | 0.858 |  | 13.606 | <-- Define Custom Device Here
Seagate Cheetah X15.3 U320 SCSI |  | 0.87 | 1.03 |  | 16.71 | <-- Define Custom Device Here
User Definable |  |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  |  | 0 | <-- Define Custom Device Here
When finished entering Information - click here to return.

## Peripherals
Misc Peripherals | Amps of +3.3V | Amps of +5V | Amps of +12V | Amps of -12V | Amps of 5vsb | Watts
Empty
CDROM |  | 0.4 | 0.7 |  |  | 10.4
Tape Drive |  | 0.77 | 0.4 |  |  | 8.65
3.5" floppy drive |  | 0.3 |  |  |  | 1.5
LCP (AXXLCPPED) |  |  |  |  | 0.1 | 0.5
IMM (AXXIMMADV or AXXIMMPRO) |  |  |  |  | 0.4 | 2
Slim-line CD/Floppy kit (ARIGCDFDBRK + Drives) |  | 0.9 |  |  |  | 4.5
Teac FD-235HF (Floppy) |  | 0.23 |  |  |  | 1.15 | <-- Define Custom Peripherals Here
Tape Drive Sony SDX-700C/BM (SCSI AIT-3) |  | 2.5 | 0.4 |  |  | 17.3 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
When finished entering Information - click here to return.

## Revision
Version 2.4 - 08/25/05 |  |  | <=== Linked to Summary Tab.
Date | Rev | Notes | Init
2004-02-03 | 0.1 | Initial Draft | dls (ds1)
2004-04-07 | 0.5 | Pre-release copy | dls (ds1)
2004-04-08 | 0.6 | Fixed Pcode SE7320SP2 | dls (ds1)
2004-08-10 | 1 | Updated Serverboard number, fans, peripherals | dls (ds1)
2005-06-15 | 2 | Added SE7320BD2D2, SE7320EP2, & SE7525RP2 Added SC5295-E Chassis Added Xeon™Processor with 2MB L2 Cache Added Estimated AC Input Currents Added Est AC Power | dls (ds1)
2005-06-16 | 2.1 | Unlocked AC voltage selection, modifed Backplane count for 2 max. | dls (ds1)
2005-06-23 | 2.2 | Fixed Formula on PS summaries - to handle all rows on chassis tab. Was only going to row9, now 13 | dls (ds2)
2005-08-15 | 2.3 | Updated to include updated power calculations. Modified HDD Power, adding typical SATA and SCSI/SAS Values | dls (ds1)
2005-08-25 | 2.4 | Updated to include Dual Core Intel® Xeon™Processor (SC5300LX/SE7520AF2 Only). Modified DIMM count from 0 thru 8 to 1 thru 8. Updated copyright date to 2005. | dls (ds1)